# Develop Reflectance Confocal Tomography Supplement

## SUBMITTED BY Liam Caffery

## On Behalf of Working Group 19 Dermatology

## Introduction/Scope

This work item proposes the development of reflectance confocal tomography (RCM) supplement which includes an information object definition (IOD) for RCM and storage SOP class for RCM images.

Background

RCM is a non-invasive skin imaging technique used in dermatology. RCM provides in vivo imaging of the skin at near histologic resolution. For this reason RCM is commonly called a “virtual biopsy”.

RCM (often used in combination with dermoscopy) has improved the accuracy of skin cancer diagnosis (particularly melanoma and basal cell carcinoma) while reducing the number of biopsies of benign skin lesions.  In 2016, in the United States, the Centers for Medicare and Medicaid Services introduced reimbursement codes for RCM.

## Limitations of Current Standard

There is currently no IOD that can be used to record RCM with the standardized metadata required for clinical utility.

A Reflectance Confocal Microscopy IOD would provide advantage over alternative IODs (e.g. VL Photographic, Secondary Capture) by including attributes to describe imaging technique.

RCM uses a diode laser as a source of monochromatic and coherent light and different scanning an focusing lens. See Figure 1.

In an RCM imaging examination a vertical stack of RCM images are typically acquired at three levels (stratum spinosum, dermal-epidermal junction, and the dermis). Due to the small imaging field, an RCM image is made up of a mosaic of smaller images to provide coverage of a skin lesion (up to 8mm by 8mm). See Figure 2.

Figure 1 Commercial RCM iamge system

Figure 2 Example RCM Image

## Description of Proposal

We propose to write a DICOM Supplement for RCM. The supplement will define a Reflectance Confocal Microscopy Image IOD, define a Reflectance Confocal Microscopy Image Storage SOP class, and if required define new DICOM attributes.

## Parts of Standard Affected

PS3.3 Information Object Definition

PS3.4 Service Class Specification

PS3.6 Data Dictionary

PS3.16 Content Mapping Resource

PS3.17 Explanatory Information

## Resources & Time Line

We currently have eight active members in Working Group 19 (see Table below). We would need to recruit an additional RCM vendor representative.

Liam Caffery will edit the supplement. Other member will contribute subject matter expertise. Professor Peter Soyer is a trained dermatology and dermopathologist and as such provides sub-specialty clinical expertise.WG-19 will meet by video / teleconference on a monthly basis. It is estimated that the supplement will take about ten months. A first draft will be available by November 2020.

Members of WG-19 anticipate that four hours of WG-06 meeting time will be required on two occasions during 2020 and 2021 to review and approve an early draft as well as public comment, letter ballot, and final text versions of the supplement.

| WG-19 Membership |
| --- |
| Dr Liam Caffery (Co-chair and secretary) | Informatics | Associate Professor Telehealth Technology Director Centre for Online Health, Centre for Health Services Research, Faculty of Medicine The University of Queensland Brisbane QLD 4072 Australia | l.caffery@coh.uq.edu.au |
| Dr Josep Malvehy (Co-Chair) | Dermatologist | Dermatologist Dermatology Department, Hospital Clinic, IDIBAPS, CIBER de enfermedades raras, University of Barcelona, Barcelona, Spain | jmalvehy@gmail.com |
| Professor Peter Soyer | Dermatologist | Chair in Dermatology Director, Dermatology Research Centre, The University of Queensland Diamantina Institute Director, Dermatology Department, Princess Alexandra Hospital Room 5081, Level 5, West Wing, Translational Research Institute (TRI), 37 Kent Street, Woolloongabba QLD 4102 | p.soyer@uq.edu.au |
| Dr Veronica Rotemberg | Dermatologist / Informatics | Director of Dermatology Informatics Memorial Sloan Kettering Cancer Centre | rotembev@mskcc.org |
| Dr Kelly Nelson | Dermatologist | Department of Dermatology Melanoma and Skin ClinicMD Anderson Cancer CenterUniversity of Texas | KCNelson1@mdanderson.org |
| Mr Dirke Holle | Vendor | Chief Executive Officer VisoMed dermoscopy Canfield Scientific GMBH | Dirk.holle@canfileldsci.com |
| Mr Andy Mayer | Vendor | Managing Director R & D FotoFinder Systems GmbH Aichner-Schmied-Strasse 3 84364 Bad Birnbach Germany | mayer.andy@fotofinder.de |
| Mr Endrit Gjona | Vendor | Project Manager Canfield Scientific | Endrit.Gjona@CanfieldSci.com |

# Footnotes

Levine A, Markowitz O Introduction to reflectance confocal microscopy and its use in clinical practice, 2018, JAAD Case Rep. 2018 Nov; 4(10); 1014-1023